[image: image1.jpg]


    

          乐清市乐宇自动化电气有限公司
                Yueqing Leyu Electric Automation Co., Ltd.


100W Single Output DC-DC Converter     SD-100 series
Features:

2:1 wide input range

Protections: Short circuit / Overload / Over voltage

1500VAC I/O isolation

Built-in EMI filter, low ripple noise

100% full load burn-in test

Fixed switching frequency at 83 KHz

24V and 48V input voltage design refer to LVD

Low cost High reliability

2 years warranty

	SPECIFICATION

	OUTPUT
	

	Model
	SD-100A-5
	SD-100C-5
	SD-100D-5
	SD-100B-12
	SD-100C-12
	SD-100D-12
	SD-100B-24
	SD-100C-24
	SD-100D-24
	SD-100B-48
	SD-100C-48
	SD-100D-48

	DC Voltage
	5V
	12V
	24V
	48V

	Rated Current
	20A
	8.5A
	4.2A
	2.1A

	Current Range
	0~20A
	0~8.5A
	0~4.2A
	0-2.1A

	Rated Power
	100W
	102W
	100.8W
	100.8W

	Ripple & Noise
	100mVp-p
	120mVp-p
	150mVp-p
	150mVp-p

	Voltage  Adj. Range
	4.5~5.5VDC
	11~16VDC
	23~30VDC
	43.2-52.8VDC

	Voltage Tolerance
	±2.0%
	±1.0%
	±1.0%
	±1.0%

	Line Regulation
	±0.5%
	±0.3%
	±0.2%
	±0.2%

	Load Regulation
	±0.5%
	±0.3%
	±0.2%
	±0.2%

	Setup, Rise Time
	2s,50ms(only D mode) at full load

	Hold Up  Time
	20ms(only D mode) at full load

	
	

	INPUT
	

	Voltage Range
	A：9.2~18VDC B:19~36VDC   C:36~72VDC   D:72~144VDC or 85~132VAC

	Efficiency
	74%
	75%
	76%
	75%
	77%
	80%
	78%
	81%
	83%
	78%
	81%
	83%

	DC Current
	4.8A/24V
	2.4A/48V
	1.8A/96V
	4.8A/24V
	2.4A/48V
	1.8A/96V
	4.8A/24V
	2.4A/48V
	1.8A/96V
	4.8A/24V
	2.4A/48V
	1.8A/96V

	Inrush Current
	D:18A/96VDC

	Leakage Current
	<0.75mA/120VAC(SD-100D)

	
	

	PROTECTION
	

	Over Load
	105~135% rated output power

	
	Protection type: Hiccup mode,recovers automatically after fault condition is removed

	Over Voltage
	5.75~6.75V/10%load
	16.8~20V/10%load
	31.5~37.5V/10%load
	60.2-79.2/10%load

	
	Protection type:Hiccup mode,recovers automatically after fault condition is removed

	
	

	ENVIRONMENT
	

	Working Temp.
	-10~+60℃ (Refer to “Derating Curve”)

	Working Humidity
	20~90%RH non-condensing

	Storage Temp.,Humidity
	-20~+85℃,10~95%RH

	Temp.Coefficient
	±0.03%/℃ (0~50℃)

	Vibration
	10~500Hz,2G 10min./1cycle,60min.each along X, Y, Z axes

	
	

	SAFETY &EMC
	

	Safety  Standards
	IEC60950-1CB approved by TUV(for D type only)

	Withstand Voltage
	I/P-O/P:1.5KVAC   I/P-FG:2.0KVAC   O/P-FG:0.5KVAC

	Isolation Resistance
	I/P-O/P,I/P-FG,O/P-FG:100M Ohms/500VDC /25℃ /70%RH

	EMC Emission
	Compliance to EN55022(CISPR22) Class B

	EMC Immunity
	Compliance to EN61000-4-2,3,4,6,8,light industry level,criteria A

	
	

	OTHERS
	

	Dimension
	199*98*38mm(L*W*H)

	Weight
	0.55Kg

	Packing
	30pcs/16.5Kg

	
	

	NOTE
	

	1. All parameters NOT specially mentioned are measured at 24,48,96VDC input, rated load and 25℃ of ambient temperature.

	2. Ripple & noise are measured at 20MHz of bandwidth by using a 12” twisted pair-wire terminated with a 0.1uf & 47uf parallel capacitor.

	3. Tolerance : includes set up tolerance, line regulation and load regulation.

	4. The power supply is considered a component which will be installed into a final equipment. The final equipment must be re-confirmed that it still meets EMC directives.


	SPECIFICATION
	

	OUTPUT
	

	Model
	SD-100C-5
	SD-100C-12
	SD-100C-24
	SD-100C-48

	DC Voltage
	5V
	12V
	24V
	48V

	Rated Current
	20A
	8.5A
	4.2A
	2.1A

	Current Range
	0~20A
	0~8.5A
	0~4.2A
	0-2.1A

	Rated Power
	100W
	102W
	100.8W
	100.8W

	Ripple & Noise
	100mVp-p
	120mVp-p
	150mVp-p
	150mVp-p

	Voltage  Adj. Range
	4.5~5.5VDC
	11~16VDC
	23~30VDC
	43.2-52.8VDC

	Voltage Tolerance
	±2.0%
	±1.0%
	±1.0%
	±1.0%

	Line Regulation
	±0.5%
	±0.3%
	±0.2%
	±0.2%

	Load Regulation
	±0.5%
	±0.3%
	±0.2%
	±0.2%

	Setup, Rise Time
	2s,50ms(only D mode) at full load

	Hold Up  Time
	20ms(only D mode) at full load

	INPUT
	

	Voltage Range
	A：9.2~18VDC B:19~36VDC   C:36~72VDC   D:72~144VDC or 85~132VAC

	Efficiency
	75%
	77%
	81%
	81%

	DC Current
	2.4A/48V
	2.4A/48V
	2.4A/48V
	2.4A/48V

	Inrush Current
	D:18A/96VDC

	Leakage Current
	<0.75mA/120VAC(SD-100D)

	PROTECTION
	

	Over Load
	105~135% rated output power

	
	Protection type: Hiccup mode,recovers automatically after fault condition is removed

	Over Voltage
	5.75~6.75V/10%load

	
	Protection type:Hiccup mode,recovers automatically after fault condition is removed

	ENVIRONMENT
	

	Working Temp.
	-10~+60℃ (Refer to “Derating Curve”)

	Working Humidity
	20~90%RH non-condensing

	Storage Temp.,Humidity
	-20~+85℃,10~95%RH

	Temp.Coefficient
	±0.03%/℃ (0~50℃)

	Vibration
	10~500Hz,2G 10min./1cycle,60min.each along X, Y, Z axes

	SAFETY &EMC
	

	Safety  Standards
	IEC60950-1CB approved by TUV(for D type only)

	Withstand Voltage
	I/P-O/P:1.5KVAC   I/P-FG:2.0KVAC   O/P-FG:0.5KVAC

	Isolation Resistance
	I/P-O/P,I/P-FG,O/P-FG:100M Ohms/500VDC /25℃ /70%RH

	EMC Emission
	Compliance to EN55022(CISPR22) Class B

	EMC Immunity
	Compliance to EN61000-4-2,3,4,6,8,light industry level,criteria A

	OTHERS
	

	Dimension
	199*98*38mm(L*W*H)

	Weight
	0.55Kg

	Packing
	30pcs/16.5Kg


[image: image3.jpg]LEYU! ©

S




[image: image2.jpg]100W Single Output DC-DC Converter S D - 1 0 0 series

B Mechanical Specification

197 ‘
Nl _@ °’L ‘ ~
L o o i
L
g
ol 2
EHE ol
H ~=_1 Q v o
B o O o
L2y !8
SN e
A=l
L~ O
ZN Yy
N | ¢ o Terminal Pin No. Assignment
‘ =S = =} PinNo. | Assignment | Pin No. Assignment
45| 575 = 120 12 | INPUT% | 45 | DCOUTPUT-V
3 FG + 67 | DCOUTPUT+V
e - 5% SD-100B,C
‘"" PinNo. | Assignment
\ P 1 |DCINPUTV+
Y D) ) 3
L ®\e ® O -7} =] 2 |DCINPUTV-
w
“o ¢y T S8 xsDA0D
— — — & PinNo. | Assignment
— — = | 1,2 |AC/DCINPUT
2 157 \
H Block Diagram fosc: 83KHz
EMI RECTIFIERS POWER RECTIFIERS . o W
P o FILTER & SWITCHING u & e 0
FILTER FILTER
FG l -y Hﬁi DETECTION T
o OLP. |9 cONTROL L t CIRCUIT
O.VP. -
B Derating Curve M Static Characteristics(SD-100D-24V)
SD-100C,D-24 a2l 1250
100 S
/ 2 - - 300 E
80 / . = 2
SD-1008-5,12,24 w2 1 =
col- SD-100C,D-5,12 J E 20 L Joo F
<] o
<) > o
= 16 - 150
= 5 =
2 & 100 &
= 12+ 1 =
S uf 1 3 3
8L - 50
Il 1 Il Il Il Il Il 1 L 1 1 L 1 L L 1 Il Il
1T S - T EngRlTZ'%*,\qL ) 5 60 65 70 75 80 90 100 110 120 132

AMBIENT TEMPERATURE (C) INPUT VOLTAGE (V)






